## BOQ Price Proposal
No. | Assignment / Task | UNIT | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
Category A - Design & Construction of sections
1 | 1x25 system - Green Field - Prices shall include all activities and works required for completion and successful operation, including but not limited to all stages of design, sectioning diagram, coordination, approvals, permitting, construction, interface and integration with other ISR systems (such as signalling, SCADA and traction stations), Testing and Commissioning, submission of required documentation for Final Acceptance
1.01 | Straight track with two Return Wires: Complete conventional overhead contact line single track in open route (more than 700 m radius) including all elements (with two Return Wires) according to specifications for overhead contact system (without ADSS cable) - excluding 1.05-1.12 works | km |  |  |  | 0 | 8 | 0
1.02 | Curve track with two Return Wires: Complete conventional overhead contact line single track in curve alignment below 700m radius including all elements ( with two Return Wires) according to specifications for overhead contact system (without ADSS cable). - excluding 1.05-1.12 works | km |  |  |  | 0 | 1 | 0
1.03 | OCS in tunnel: Complete conventional overhead contact line single track in tunnel or underground routes including all elements (with one Return Wire) and according to specifications for overhead contact system (without ADSS cable). - excluding 1.05-1.12 works | km |  |  |  | 0 | 0.5 | 0
1.04 | OCS on bridge with two Return Wires: Supply and installation of complete conventional overhead contact line single track on bridges or viaducts including all elements (with two Return Wires) and according to specifications for overhead contact system (without ADSS cable). - excluding 1.05-1.12 works | km |  |  |  | 0 | 0.5 | 0
Additional works which are excluded from section 1.01-1.04 above (will be priced seperately)
1.05 | Additional feeder to straight or curve track with one or two Return Wiress: Supply and installation of strengthening wire including all accessory's for mounting on the OCS poles according to specifications for overhead contact system. | km |  |  |  | 0 | 2 | 0
1.06 | Cross over: Additional cost per turnout to supplied and installation of conventional overhead contact line in crossovers or turnout including sectioning insulator and on load disconnector. These costs refer only to the deviated part of the turnout and not to the main track part which is included in the “OCS in straight line track”. and according to specifications for overhead contact system. | comp |  |  |  | 0 | 2 | 0
1.07 | Disconnector: On load disconnector including all connection, Section insulator, MOTOR CONTROL UNIT, 2xVoltage detectors on both sides of the disconnector fully wired according to specifications for overhead contact system. | comp |  |  |  | 0 | 3 | 0
1.08 | Siding station central part: Conventional overhead contact line in siding station which consist in four tracks, two main and two secondary tracks, the aim of this station is allow the deviation of the traffic and stabling trains in the secondary tracks. This price includes the cost of the OCS equipment's of the tracks, does not include the cost of the turnouts and according to specifications for overhead contact system(without ADSS cable) | comp |  |  |  | 0 | 1 | 0
1.09 | Voltage transformer: Power Transformer 50 kVA including all equipment (disconnector, voltage transformer, OCS special pole and accessories, foundation and wiring according to specifications for overhead contact system. | comp |  |  |  | 0 | 1 | 0
1.1 | ADSS (All dielectric self-sustained) cable ADSS cabling including all accessories, fusion and testing, track & road crossings | km |  |  |  | 0 | 8 | 0
1.11 | Neutral Section arrangement, including but not limited to: disconnectors including Motor Control Units, insulated overlaps, section insulators if required, signage | comp |  |  |  | 0 | 0.25 | 0
1.12 | Special arrangement for connection to the TS, including but not limited to, Portal installed in parallel with the tracks, 4 disconnectors including MOTOR CONTROL UNITs, interconnection to the OCS of the tracks | comp |  |  |  | 0 | 0.25 | 0
| Sub-Total 1x25 system - Green Field - For Price Proposal | [6 empty] | 0
No. | Assignment / Task | UNIT | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
2 | 1x25 system - Grey Field- Prices shall include all activities and works required for completion and successful operation, including but not limited to all stages of design, sectioning diagram, coordination, approvals, permitting, construction, interface and integration with other ISR systems (such as signalling, SCADA and traction stations), Testing and Commissioning, submission of required documentation for Final Acceptance
2.01 | Straight track with two Return Wires: Complete conventional overhead contact line single track in open route (more than 700 m radius) including all elements ( with two Return Wires) according to specifications for overhead contact system (without ADSS cable) excluding 2.05-2.12 works | km |  |  |  | 0 | 8 | 0
2.02 | Curve track with two Return Wires: Complete conventional overhead contact line single track in curve alignment below 700m radius including all elements ( with two Return Wires) according to specifications for overhead contact system (without ADSS cable). excluding 2.05-2.12 works | km |  |  |  | 0 | 1 | 0
2.03 | OCS in tunnel: Complete conventional overhead contact line single track in tunnel or underground routes including all elements (with one Return Wires) and according to specifications for overhead contact system (without ADSS cable). excluding 2.05-2.12 works | km |  |  |  | 0 | 0.5 | 0
2.04 | OCS on bridge with two Return Wires: Supply and installation of complete conventional overhead contact line single track on bridges or viaducts including all elements (with two Return Wires) and according to specifications for overhead contact system (without ADSS cable). excluding 2.05-2.12 works | km |  |  |  | 0 | 0.5 | 0
Additional works which are excluded from section 2.01-2.04 above (will be priced seperately)
2.05 | Additional feeder to straight or curve track with one or two Return Wiress: Supply and installation of strengthening wire including all accessory's for mounting on the OCS poles according to specifications for overhead contact system. | km |  |  |  | 0 | 2 | 0
2.06 | Cross over: Additional cost per turnout to supplied and installation of conventional overhead contact line in crossovers or turnout including sectioning insulator and on load disconnector. These costs refer only to the deviated part of the turnout and not to the main track part which is included in the “OCS in straight line track”. and according to specifications for overhead contact system. | comp |  |  |  | 0 | 2 | 0
2.07 | Disconnector : On load disconnector including all connection, Section insulator, motor control unit, 2xVoltage detectors on both sides of the disconnector fully wired according to specifications for overhead contact system. | comp |  |  |  | 0 | 3 | 0
2.08 | Siding station central part: Conventional overhead contact line in siding station which consist in four tracks, two main and two secondary tracks, the aim of this station is allow the deviation of the traffic and stabling trains in the secondary tracks. This price includes the cost of the OCS equipment's of the tracks, does not include the cost of the turnouts and according to specifications for overhead contact system(without ADSS cable) | comp |  |  |  | 0 | 1 | 0
2.09 | Voltage transformer: Power Transformer 50 kVA including all equipment (disconnector, voltage transformer, OCS special pole and accessories, foundation and wiring according to specifications for overhead contact system. | comp |  |  |  | 0 | 1 | 0
2.1 | ADSS (All dielectric self-sustained) cable ADSS cabling including all accessories, fusion and testing, track & road crossings | km |  |  |  | 0 | 8 | 0
2.11 | Neutral Section arrangement, including but not limited to: disconnectors including Motor Control Units, insulated overlaps, section insulators if required, signage | comp |  |  |  | 0 | 0.25 | 0
2.12 | Special arrangement for connection to the TS (Traction Station), including but not limited to, Portal installed in parallel with the tracks, 4 disconnectors including MOTOR CONTROL UNITs, interconnection to the OCS of the tracks | comp |  |  |  | 0 | 0.25 | 0
| Sub-Total 1x25 system - Grey Field | [6 empty] | 0
No. | Assignment / Task | UNIT | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
3 | 2x25 system - Green Field- Prices shall include all activities and works required for completion and successful operation, including but not limited to all stages of design, sectioning diagram, coordination, approvals, permitting, construction, interface and integration with other ISR systems (such as signalling, SCADA and traction stations), Testing and Commissioning, submission of required documentation for Final Acceptance
3.01 | Straight track with two Return Wires: Complete conventional overhead contact line single track in open route (more than 700 m radius) including all elements ( feeder, with two Return Wires) according to specifications for overhead contact system (without ADSS cable) excluding 3.05-3.11 works | km |  |  |  | 0 | 8 | 0
3.02 | Curve track with two Return Wires: Complete conventional overhead contact line single track in curve alignment below 700m radius including all elements (feeder, with two Return Wires) according to specifications for overhead contact system (without ADSS cable).excluding 3.05-3.12 works | km |  |  |  | 0 | 1 | 0
3.03 | OCS in tunnel: Complete conventional overhead contact line single track in tunnel or underground routes including all elements (with one Return Wires) and according to specifications for overhead contact system (without ADSS cable).excluding 3.05-3.11 works | km |  |  |  | 0 | 0.5 | 0
3.04 | OCS on bridge with two Return Wires: Supply and installation of complete conventional overhead contact line single track on bridges or viaducts including all elements (feeder, with two Return Wires) and according to specifications for overhead contact system (without ADSS cable). excluding 3.05-3.11 works | km |  |  |  | 0 | 0.5 | 0
Additional works which are excluded from section 3.01-3.04 above (will be priced seperately)
3.05 | Cross over: Additional cost per turnout to supplied and installation of conventional overhead contact line in crossovers or turnout including sectioning insulator and on load disconnector. These costs refer only to the deviated part of the turnout and not to the main track part which is included in the “OCS in straight line track”. and according to specifications for overhead contact system. | comp |  |  |  | 0 | 1 | 0
3.06 | Disconnector : On load disconnector including all connection, Section insulator, motor control unit, 2xVoltage detectors on both sides of the disconnector fully wired according to specifications for overhead contact system. | comp |  |  |  | 0 | 2 | 0
3.07 | Siding station central part: Conventional overhead contact line in siding station which consist in four tracks, two main and two secondary tracks, the aim of this station is allow the deviation of the traffic and stabling trains in the secondary tracks. This price includes the cost of the OCS equipment's of the tracks, does not include the cost of the turnouts and according to specifications for overhead contact system(without ADSS cable) | comp |  |  |  | 0 | 1 | 0
3.08 | Voltage transformer: Power Transformer 50 kVA including all equipment (disconnector, voltage transformer, OCS special pole and accessories, foundation and wiring according to specifications for overhead contact system. | comp |  |  |  | 0 | 1 | 0
3.09 | Neutral Section arrangement, including but not limited to: disconnectors including Motor Control Units, insulated overlaps, section insulators if required, signage | comp |  |  |  | 0 | 0.25 | 0
3.1 | Special arrangement for connection to the TS (Traction Station)/AT (auto-trafo), including but not limited to, Portal installed in parallel with the tracks, 4 disconnectors including MOTOR CONTROL UNITs, interconnection to the OCS of the tracks | comp |  |  |  | 0 | 0.25 | 0
3.11 | ADSS (All dielectric self-sustained) cable ADSS cabling including all accessories, fusion and testing, track & road crossings | km |  |  |  | 0 | 8 | 0
| Sub-Total 2x25 system - Green Field | [6 empty] | 0
No. | Assignment / Task | UNIT | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
4 | 2x25 system - Grey Field- Prices shall include all activities and works required for completion and successful operation, including but not limited to all stages of design, sectioning diagram, coordination, approvals, permitting, construction, interface and integration with other ISR systems (such as signalling, SCADA and traction stations), Testing and Commissioning, submission of required documentation for Final Acceptance
4.01 | Straight track with two Return Wiress: Complete conventional overhead contact line single track in open route (more than 700 m radius) including all elements ( feeder, with two Return Wires) according to specifications for overhead contact system (without ADSS cable) excluding 4.05-4.11 works | km |  |  |  | 0 | 8 | 0
4.02 | Curve track with two Return Wiress: Complete conventional overhead contact line single track in curve alignment below 700m radius including all elements (feeder, with two Return Wires) according to specifications for overhead contact system (without ADSS cable). excluding 4.05-4.11 works | km |  |  |  | 0 | 1 | 0
4.03 | OCS in tunnel: Complete conventional overhead contact line single track in tunnel or underground routes including all elements (with one Return Wires) and according to specifications for overhead contact system (without ADSS cable). excluding 4.05-4.11 works | km |  |  |  | 0 | 0.5 | 0
4.04 | OCS on bridge with two Return Wires: Supply and installation of complete conventional overhead contact line single track on bridges or viaducts including all elements (feeder, with two Return Wires) and according to specifications for overhead contact system (without ADSS cable). excluding 4.05-4.11 works | km |  |  |  | 0 | 0.5 | 0
Additional works which are excluded from section 4.01-4.04 above (will be priced seperatly)
4.05 | Cross over: Additional cost per turnout to supplied and installation of conventional overhead contact line in crossovers or turnout including sectioning insulator and on load disconnector. These costs refer only to the deviated part of the turnout and not to the main track part which is included in the “OCS in straight line track”. and according to specifications for overhead contact system. | comp |  |  |  | 0 | 1 | 0
4.06 | Disconnector : On load disconnector including all connection, Section insulator, motor control unit, 2xVoltage detectors on both sides of the disconnector fully wired according to specifications for overhead contact system. | comp |  |  |  | 0 | 2 | 0
4.07 | Siding station central part: Conventional overhead contact line in siding station which consist in four tracks, two main and two secondary tracks, the aim of this station is allow the deviation of the traffic and stabling trains in the secondary tracks. This price includes the cost of the OCS equipment's of the tracks, does not include the cost of the turnouts and according to specifications for overhead contact system(without ADSS cable) | comp |  |  |  | 0 | 1 | 0
4.08 | Voltage transformer: Power Transformer 50 kVA including all equipment (disconnector, voltage transformer, OCS special pole and accessories, foundation and wiring according to specifications for overhead contact system. | comp |  |  |  | 0 | 1 | 0
4.09 | Neutral Section arrangement, including but not limited to: disconnectors including Motor Control Units, insulated overlaps, section insulators if required, signage | comp |  |  |  | 0 | 0.25 | 0
4.1 | Special arrangement for connection to the TS (Traction Station)/AT (auto-trafo), including but not limited to, Portal installed in parallel with the tracks, 4 disconnectors including MOTOR CONTROL UNITs, interconnection to the OCS of the tracks | comp |  |  |  | 0 | 0.25 | 0
4.11 | ADSS (All dielectric self-sustained) cable ADSS cabling including all accessories, fusion and testing, track & road crossings | km |  |  |  | 0 | 8 | 0
| Sub-Total 2x25 system - Grey Field | [6 empty] | 0
No. | Assignment / Task | UNIT | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
5 | SCADA
5.1 | SCADA - Materials
NOTE | The items included in the following Chapter shall be for supply of materials only. The Contractor shall make the materials available for collection at its designated storage facilities, and ISR (or its representative) shall collect the materials within thirty (30) Business Days from the date on which the Contractor has formally notified that the materials have arrived and are ready for collection.
05.01.01 | Local Operational Post (LOP) RTU package (Description: Per IEC 61850, ~256 I/O per LOP, redundant controllers, dual power supply, I/O modules, Ethernet switches, Cyber protection, FO interface) | comp |  |  |  | 0 | 3 | 0
05.01.02 | Traction Substation (TSS) RTU package (Description: Per IEC 61850, ~2048 I/O per TSS, redundant controllers, dual power supply, I/O modules, Ethernet switches, Cyber protection, FO interface) | comp |  |  |  | 0 | 1 | 0
05.01.03 | IEC 61850 Gateway for TSS | comp |  |  |  | 0 | 1 | 0
05.01.04 | Motorized Disconnector Package - Turnkey Supply (Description: Motor controller unit, position sensors, local/remote control, interlocking logic, RTU, communication module, provision for connection of 2 remote cables) | comp |  |  |  | 0 | 41 | 0
05.01.05 | Voltage Detector for OCS (Overhead Catenary System) (Description: High-voltage detection sensors, 25kV AC rated, weather-resistant, LED indication, relay outputs, RTU, communication module, provision for connection of 2 remote cables) | comp |  |  |  | 0 | 5 | 0
05.01.06 | Voltage Transducer (High Accuracy Class 0.2S) (Description: For metering and monitoring, IEC 61869 compliant, 25kV/110V transformation, isolated output, RTU, communication module, provision for connection of 2 remote cables) | comp |  |  |  | 0 | 5 | 0
05.01.07 | Current Transducer (High Accuracy Class 0.2S) (Description: For revenue metering and protection, IEC 61869 compliant, 0-3000A range, Rogowski coil or CT, RTU, communication module, provision for connection of 2 remote cables) | comp |  |  |  | 0 | 5 | 0
05.01.08 | Short-Circuit Indicator for Feeder Protection (Description: Current-sensing indicators, fault detection, remote reset capability, visual and remote indication, RTU, communication module, installation including control box with glands and control circuitry, provision for connection of 2 remote cables) | comp |  |  |  | 0 | 3 | 0
05.01.09 | Field Switch | comp |  |  |  | 0 | 6 | 0
05.01.10 | Fiber Connection | comp |  |  |  | 0 | 6 | 0
05.01.11 | Site Infrastructure per LOP | comp |  |  |  | 0 | 3 | 0
05.01.12 | LOP Power Supply Systems (230VAC/220VDC, redundant) | comp |  |  |  | 0 | 3 | 0
05.01.13 | Test Equipment and Instrumentation | Lump Sum |  |  |  | 0 | 1 | 0
| Sub-Total SCADA - Materials | [6 empty] | 0
5.2 | SCADA - Labor
NOTE | The items included in the following Chapter shall be for installation works only, excluding the supply of materials which shall be measured and paid separately. The Contractor shall execute the Works at the Site upon instruction by ISR, and the unit rates shall include full and complete consideration for all installation activities, including transportation to site, unloading, handling, excavation and/or rock breaking, installation, testing and commissioning, all in accordance with the Agreement requirements. All works to include among others transportation, installation, testing, commissioning, documentation and training
05.02.01 | Transportation, Installation and Commissioning of Local Operational Post (LOP) RTU package (Description: Per IEC 61850, ~256 I/O per LOP, redundant controllers, dual power supply, I/O modules, Ethernet switches, Cyber protection, FO interface) | comp |  |  |  | 0 | 3 | 0
05.02.02 | Transportation, Installation and Commissioning of Traction Substation (TSS) RTU package (Description: Per IEC 61850, ~2048 I/O per TSS, redundant controllers, dual power supply, I/O modules, Ethernet switches, Cyber protection, FO interface) | comp |  |  |  | 0 | 1 | 0
05.02.03 | Transportation, Installation and Commissioning of IEC 61850 Gateway for TSS | comp |  |  |  | 0 | 1 | 0
05.02.04 | Transportation, Installation and Commissioning of Motorized Disconnector Package - Turnkey Installation (Description: installation and commissioning, including installation and commissioning of control box with control circuitry) | comp |  |  |  | 0 | 41 | 0
05.02.05 | Transportation, Installation and Commissioning of Voltage Detector for OCS (Overhead Catenary System) (Description: installation and commissioning, including installation and commissioning of control box with control circuitry) | comp |  |  |  | 0 | 5 | 0
05.02.06 | Transportation, Installation and Commissioning of Voltage Transducer (High Accuracy Class 0.2S) (Description: installation and commissioning, including installation and commissioning of control box with control circuitry) | comp |  |  |  | 0 | 5 | 0
05.02.07 | Transportation, Installation and Commissioning of Current Transducer (High Accuracy Class 0.2S) (Description: installation and commissioning, including installation and commissioning of control box with control circuitry) | comp |  |  |  | 0 | 5 | 0
05.02.08 | Transportation, Installation and Commissioning of Short-Circuit Indicator for Feeder Protection (Description: installation and commissioning, including installation and commissioning of control box with control circuitry) | comp |  |  |  | 0 | 3 | 0
05.02.09 | Transportation, Installation and Commissioning of Field equipment | comp |  |  |  | 0 | 51 | 0
05.02.10 | Transportation, Installation and Commissioning of Field Switch | comp |  |  |  | 0 | 6 | 0
05.02.11 | Transportation, Installation and Commissioning of Fiber Connection | comp |  |  |  | 0 | 6 | 0
05.02.12 | Transportation, Installation and Commissioning of Site Infrastructure per LOP | comp |  |  |  | 0 | 3 | 0
05.02.13 | Transportation, Installation and Commissioning of LOP Power Supply Systems (230VAC/220VDC, redundant) | comp |  |  |  | 0 | 3 | 0
05.02.14 | Testing and Commissioning of LOP | comp |  |  |  | 0 | 5 | 0
05.02.15 | Testing and Commissioning of TSS IEC 61850 Gateway | comp |  |  |  | 0 | 2 | 0
05.02.16 | Integration of field equipment unit (Disconnector, Voltage detector, Current transformer, Short Circuit current detector) in the SCADA system including testing and commissioning | comp |  |  |  | 0 | 11 | 0
05.02.17 | Integration of TSS in the SCADA system including testing and commissioning | comp |  |  |  | 0 | 2 | 0
05.02.18 | Integration of TSS IEC 61850 Gateway in the SCADA system including testing and commissioning | comp |  |  |  | 0 | 2 | 0
05.02.19 | Testing of LOP | Site |  |  |  | 0 | 3 | 0
05.02.20 | Documentation of LOP | Site |  |  |  | 0 | 3 | 0
05.02.21 | Training for single LOP | Site |  |  |  | 0 | 3 | 0
05.02.22 | OTDR Test for set of Fiber cables of single LOP | Set |  |  |  | 0 | 1 | 0
| Sub-Total SCADA - Labor | [6 empty] | 0
| Sub-Total SCADA | [6 empty] | 0
Category B - Design & Construction small works
No. | Assignment / Task | UNIT | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
6 | OCS Small Works –Small Works shall mean limited-scope electrification works of up to three (3) kilometers of single-track railway length, intended for localized modifications, additions, adjustments, remedial works, emergency works, or interface-related works within the existing ISR railway network. For the avoidance of doubt, large-scale or continuous projects divided into phases, sections, temporary stages, or execution sequences shall not be considered Small Works, even if individual execution segments are shorter than three (3) kilometers.
6.01 | Poles
6.01.01 | Foundation of any type including GEWI BST 500S rods, 4 nuts + 4 washers per rod | comp | 20000 | 0% |  | 20000 | 170 | 3400000
6.01.02 | Pole HEB-220 (8,2m) | comp | 7000 | 0% |  | 7000 | 40 | 280000
6.01.03 | Pole HEB-240 (8,2m) | comp | 8000 | 0% |  | 8000 | 40 | 320000
6.01.04 | Pole HEB-260 (8,2m) | comp | 9000 | 0% |  | 9000 | 20 | 180000
6.01.05 | Pole HEB-280 (8,2m) | comp | 11000 | 0% |  | 11000 | 20 | 220000
6.01.06 | Pole HEB-320 (8,2m) | comp | 12000 | 0% |  | 12000 | 20 | 240000
6.01.07 | Pole 2HEB-240 (8,2m) | comp | 16000 | 0% |  | 16000 | 5 | 80000
6.01.08 | Pole 2HEB-260 (8,2m) | comp | 19000 | 0% |  | 19000 | 5 | 95000
6.01.09 | Pole HEB-320PL (10,5m) | comp | 20000 | 0% |  | 20000 | 5 | 100000
6.01.10 | Pole HEB-360PL (10,5m) | comp | 23000 | 0% |  | 23000 | 5 | 115000
6.01.11 | Pole HEB-400PL (10,5m) | comp | 30000 | 0% |  | 30000 | 5 | 150000
6.01.12 | Pole HEB-450PL (10,5m) | comp | 40000 | 0% |  | 40000 | 5 | 200000
6.01.13 | Pole HEB-320PL (12,5m) | comp | 20000 | 0% |  | 20000 | 5 | 100000
6.01.14 | Pole HEB-360PL (12,5m) | comp | 23000 | 0% |  | 23000 | 5 | 115000
6.01.15 | Pole HEB-400PL (12,5m) | comp | 30000 | 0% |  | 30000 | 5 | 150000
6.01.16 | Pole HEB-450PL (12,5m) | comp | 40000 | 0% |  | 40000 | 5 | 200000
6.01.17 | Pole HEB-320PL (14,5m) | comp | 23000 | 0% |  | 23000 | 5 | 115000
6.01.18 | Pole HEB-360PL (14,5m) | comp | 26000 | 0% |  | 26000 | 5 | 130000
6.01.19 | Pole HEB-400PL (14,5m) | comp | 33000 | 0% |  | 33000 | 5 | 165000
6.01.20 | Pole HEB-450PL (14,5m) | comp | 25000 | 0% |  | 25000 | 5 | 125000
6.01.21 | Portal up to 12 meter width | comp | 20000 | 0% |  | 20000 | 5 | 100000
6.01.22 | Portal up to 20 meter width | comp | 30000 | 0% |  | 30000 | 10 | 300000
6.01.23 | Portal up to 28 meter width | comp | 45000 | 0% |  | 45000 | 5 | 225000
6.01.24 | Portal up to 36 meter width | comp | 70000 | 0% |  | 70000 | 3 | 210000
6.01.25 | Portal up to 44 meter width | comp | 80000 | 0% |  | 80000 | 3 | 240000
6.01.26 | Portal up to 52 meter width | comp | 95000 | 0% |  | 95000 | 2 | 190000
6.01.27 | Pole of any type - payment per weight | kg | 25 | 0% |  | 25 | 5000 | 125000
6.01.28 | Portal of any type - payment per weight | kg | 30 | 0% |  | 30 | 20000 | 600000
6.01.29 | Cantilever support for portal | comp | 3000 | 0% |  | 3000 | 56 | 168000
6.01.30 | BWA system for overlap - single tension | comp | 18000 | 0% |  | 18000 | 16 | 288000
6.01.31 | Tensorex system for overlap per single tension | comp | 30000 | 0% |  | 30000 | 8 | 240000
6.01.32 | Cantilever of any type inlcuding insulators, tubes, brackets, connectors, wind stay, arms, comp | comp | 2500 | 0% |  | 2500 | 160 | 400000
6.01.33 | Mid point | comp | 3000 | 0% |  | 3000 | 8 | 24000
6.01.34 | OCS fix Anchor | comp | 45000 | 0% |  | 45000 | 30 | 1350000
6.01.35 | Return Wires | km | 50000 | 0% |  | 50000 | 8 | 400000
6.01.36 | Messenger wire | km | 60000 | 0% |  | 60000 | 10 | 600000
6.01.37 | Contact wire | km | 100000 | 0% |  | 100000 | 10 | 1000000
6.01.38 | Support for 2x25 kV feeder wire | comp | 5000 | 0% |  | 5000 | 80 | 400000
6.01.39 | Insulator for 2x25 kV feeder wire | comp | 1500 | 0% |  | 1500 | 80 | 120000
6.01.40 | Jumper | comp | 1600 | 0% |  | 1600 | 40 | 64000
6.01.41 | Dropper | comp | 250 | 0% |  | 250 | 1500 | 375000
6.01.42 | Cantilevers support of any type | comp | 2500 | 0% |  | 2500 | 160 | 400000
6.01.43 | Off Load Disconnector 2500 Amp | comp | 25000 | 0% |  | 25000 | 5 | 125000
6.01.44 | On Load Disconnector 2500 Amp | comp | 35000 | 0% |  | 35000 | 5 | 175000
6.01.45 | Motor control unit in OCS disconnector control panel | comp | 25000 | 0% |  | 25000 | 10 | 250000
6.01.46 | Section Insulator up to 160 km/hr | comp | 20000 | 0% |  | 20000 | 3 | 60000
6.01.47 | Section Insulator up to 250 km/hr | comp | 25000 | 0% |  | 25000 | 3 | 75000
6.01.48 | MV corridor | meter | 10500 | 0% |  | 10500 | 75 | 787500
| Sub-Total Poles | [6 empty] | 15771500
6.02 | OCS Poles accessories
6.02.01 | Chemical anchor bolt M16 | comp | 100 | 0% |  | 100 | 100 | 10000
6.02.02 | Chemical anchor bolt M18 | comp | 15 | 0% |  | 15 | 100 | 1500
6.02.03 | Chemical anchor bolt M24 | comp | 200 | 0% |  | 200 | 200 | 40000
6.02.04 | Threaded rod M27→M40 (for steel pole only) | meter | 60 | 0% |  | 60 | 20 | 1200
6.02.05 | Backplate (for steel pole only) | comp | 120 | 0% |  | 120 | 20 | 2400
6.02.06 | Backprofile (L) (for steel pole only) | comp | 120 | 0% |  | 120 | 20 | 2400
6.02.07 | Ramm pipe (Ø 500 mm) (for concrete pole only) | meter | 750 | 0% |  | 750 | 100 | 75000
6.02.08 | Steel reinforcement bars (Ø16 mm) | meter | 40 | 0% |  | 40 | 20 | 800
6.02.09 | Steel reinforcement bars (Ø18 mm) | meter | 60 | 0% |  | 60 | 20 | 1200
6.02.10 | Steel reinforcement bars (Ø20 mm) | meter | 70 | 0% |  | 70 | 20 | 1400
6.02.11 | Nut for GEWI BST 500S - any diameter up to 40 mm | comp | 20 | 0% |  | 20 | 80 | 1600
6.02.12 | Washer - any diameter up to 40 mm internal rod | comp | 10 | 0% |  | 10 | 160 | 1600
6.02.13 | TRANSFER PLATE ‎PL-AN‎ acc to the typical drawing 6474 | comp | 400 | 0% |  | 400 | 10 | 4000
6.02.14 | TRANSFER PLATE ‎PL-AN‎2 acc to the typical drawing 6475 | comp | 500 | 0% |  | 500 | 10 | 5000
| Sub-Total OCS Poles accessories | [6 empty] | 148100
6.03 | INSULATORS
6.03.01 | Cantilever tube insulator | comp | 1500 | 0% |  | 1500 | 100 | 150000
6.03.02 | Tie tube insulator | comp | 1200 | 0% |  | 1200 | 20 | 24000
6.03.03 | Buttonhole-buttonhole insulator | comp | 1000 | 0% |  | 1000 | 20 | 20000
6.03.04 | Top pole insulator | comp | 1750 | 0% |  | 1750 | 20 | 35000
6.03.05 | Gantry insulator | comp | 3000 | 0% |  | 3000 | 20 | 60000
| Sub-Total INSULATORS | [6 empty] | 289000
6.04 | INSULATED COPPER AND COPPER ALLOY WIRES
6.04.01 | Feeder cable Cu 300 mm2, 33/66kV | km | 350000 | 0% |  | 350000 | 1 | 350000
6.04.02 | Feeder cable Cu 300 mm2, 0.69/1kV | km | 250000 | 0% |  | 250000 | 1 | 250000
6.04.03 | Grounding wire Cu 70 mm2, 0,6/1kV | km | 75000 | 0% |  | 75000 | 2 | 150000
6.04.04 | Low voltage cable 5x16, 0,6/1kV | km | 50000 | 0% |  | 50000 | 2 | 100000
6.04.05 | Low voltage cable 5x25, 0,6/1kV | km | 150000 | 0% |  | 150000 | 2 | 300000
6.04.06 | Low voltage cable 4x70+1x35, 0,6/1kV | km | 350000 | 0% |  | 350000 | 2 | 700000
| Sub-Total INSULATED COPPER AND COPPER ALLOY WIRES | [6 empty] | 1850000
6.05 | JUMPERS, CONNECTIONS AND INSULATIONS
6.05.01 | Overlap jumper (≥4) | comp | 3000 | 0% |  | 3000 | 10 | 30000
6.05.02 | Equipotential jumper for insulated overlap (4) | comp | 2500 | 0% |  | 2500 | 10 | 25000
6.05.03 | Messenger/Contact wire jumper in crossing (≥2) | comp | 1500 | 0% |  | 1500 | 10 | 15000
6.05.04 | Feeding connection to MW/CW (≥2) | comp | 6000 | 0% |  | 6000 | 10 | 60000
6.05.05 | Bridge connection from load breaker to MW/CW (≥4) | comp | 8000 | 0% |  | 8000 | 10 | 80000
6.05.06 | Bridge connection from catenary to catenary (≥2) | comp | 2000 | 0% |  | 2000 | 10 | 20000
6.05.07 | Connection to surge arrester, ground and power | comp | 2250 | 0% |  | 2250 | 20 | 45000
6.05.08 | Connection to voltage detector, ground and power | comp | 2250 | 0% |  | 2250 | 20 | 45000
6.05.09 | Connection to voltage detector, low voltage | comp | 2250 | 0% |  | 2250 | 20 | 45000
6.05.10 | Connection to load breaker motor, low voltage and signal | comp | 2250 | 0% |  | 2250 | 20 | 45000
6.05.11 | Intermediate insulation for messenger wire | comp | 6000 | 0% |  | 6000 | 15 | 90000
6.05.12 | Intermediate insulation for contact wire | comp | 5500 | 0% |  | 5500 | 15 | 82500
6.05.13 | Intermediate insulation for steel wire (100mm2) | comp | 5000 | 0% |  | 5000 | 15 | 75000
| Sub-Total JUMPERS, CONNECTIONS AND INSULATIONS | [6 empty] | 657500
6.06 | CLAMPS AND SPLICES
6.06.01 | Steady arm contact wire clamp | comp | 40 | 0% |  | 40 | 200 | 8000
6.06.02 | Dropper contact wire clamp | comp | 100 | 0% |  | 100 | 200 | 20000
6.06.03 | Dropper messenger wire clamp | comp | 100 | 0% |  | 100 | 200 | 20000
6.06.04 | Stitch wire messenger wire clamp | comp | 100 | 0% |  | 100 | 200 | 20000
6.06.05 | Contact wire splice | comp | 150 | 0% |  | 150 | 150 | 22500
6.06.06 | Messenger wire splice | comp | 100 | 0% |  | 100 | 150 | 15000
6.06.07 | Return Wires splice | comp | 350 | 0% |  | 350 | 150 | 52500
6.06.08 | Feeder wire splice, naked | comp | 800 | 0% |  | 800 | 150 | 120000
6.06.09 | Feeder wire splice, insulate | comp | 900 | 0% |  | 900 | 150 | 135000
6.06.10 | Grounding wire Cu 50 mm2, 0,6/1kV splice | comp | 250 | 0% |  | 250 | 150 | 37500
6.06.11 | Low voltage cable low 5x16, 0,6/1kV splice | comp | 350 | 0% |  | 350 | 150 | 52500
6.06.12 | Low voltage cable 5x25, 0,6/1kV splice | comp | 400 | 0% |  | 400 | 150 | 60000
6.06.13 | Low voltage cable 4x70+35, 0,6/1kV splice | comp | 500 | 0% |  | 500 | 150 | 75000
6.06.14 | Signal cable, 0,6/1kV splice | comp | 2000 | 0% |  | 2000 | 20 | 40000
6.06.15 | Bi-metalic protection cover for feeding | comp | 120 | 0% |  | 120 | 20 | 2400
6.06.16 | Bi-metalic protection cover for messenger wire suspension | comp | 100 | 0% |  | 100 | 20 | 2000
| Sub-Total CLAMPS AND SPLICES | [6 empty] | 682400
6.07 | GROUNDINGS AND PROTECTIONS
6.07.01 | Single pole grounding 1x70 Cu/PVC | comp | 500 | 0% |  | 500 | 10 | 5000
6.07.02 | Rail equipotential jumper 1x70 Cu/PVC | comp | 500 | 0% |  | 500 | 10 | 5000
6.07.03 | Pole-rail jumper 1x70 Cu/PVC | comp | 500 | 0% |  | 500 | 10 | 5000
6.07.04 | Return Wires parallel jumper 1x70 Cu/PVC | comp | 500 | 0% |  | 500 | 10 | 5000
6.07.05 | Expansion joint jumper | comp | 3000 | 0% |  | 3000 | 10 | 30000
6.07.06 | Grounding of overpass or structure | comp | 3000 | 0% |  | 3000 | 10 | 30000
6.07.07 | Main grounding pit for load breaker (motor), surge arrester and voltage detector | comp | 9500 | 0% |  | 9500 | 10 | 95000
6.07.08 | Grounding multi connection plate for pole | comp | 500 | 0% |  | 500 | 10 | 5000
6.07.09 | Flash light | comp | 3000 | 0% |  | 3000 | 5 | 15000
| Sub-Total GROUNDINGS AND PROTECTIONS | [6 empty] | 195000
6.08 | SIGNAGE
6.08.01 | Electric risk/hazard | comp | 50 | 0% |  | 50 | 10 | 500
6.08.02 | Proximity phase break start | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.03 | Phase break start | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.04 | Phase brake end signal | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.05 | Distance signal, 200 m | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.06 | Distance signal, 400 m | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.07 | Pantograph down | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.08 | Pantograph up | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.09 | Stop to electric traction | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.10 | Arrow signal | comp | 300 | 0% |  | 300 | 10 | 3000
6.08.11 | Bicolor fencing band | km | 750 | 0% |  | 750 | 10 | 7500
| Sub-Total SIGNAGE | [6 empty] | 35000
6.09 | Signaling and communication cables
6.09.01 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H115) rf=0.2 4x1x0.9 | meter | 30 | 0% |  | 30 | 100 | 3000
6.09.02 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H145) rf=0.2 4x1x1.4 | meter | 30 | 0% |  | 30 | 200 | 6000
6.09.03 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H145) rf=0.2 10x1x1.4 | meter | 40 | 0% |  | 40 | 300 | 12000
6.09.04 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H115) rf=0.2 40x1x0.9 | meter | 50 | 0% |  | 50 | 250 | 12500
6.09.05 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H145) rf=0.2 40x1x1.4 | meter | 75 | 0% |  | 75 | 250 | 18750
6.09.06 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H95) rf=0.2 40x1x1.8 | meter | 120 | 0% |  | 120 | 500 | 60000
6.09.07 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H115) rf=0.2 56x1x0.9 | meter | 70 | 0% |  | 70 | 250 | 17500
6.09.08 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H145) rf=0.2 56x1x1.4 | meter | 100 | 0% |  | 100 | 250 | 25000
6.09.09 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H115) rf=0.2 96x1x0.9 | meter | 95 | 0% |  | 95 | 250 | 23750
6.09.10 | AJ-2YOF(L)2Y‏DB‏‏‏‏2‏Y(H145) rf=0.2 96x1x1.4 | meter | 150 | 0% |  | 150 | 250 | 37500
6.09.11 | AJ-2Y‏OF(L)2Y‏DB‏‏‏‏2‏Y(H45) rf=0.2 3x4x0.9 | meter | 35 | 0% |  | 35 | 250 | 8750
6.09.12 | AJ-2Y‏OF(L)2Y‏DB‏‏‏‏2‏Y(H45) rf=0.2 5x4x0.9 | meter | 40 | 0% |  | 40 | 250 | 10000
6.09.13 | AJ-2Y‏OF(L)2Y‏DB‏‏‏‏2‏Y(H45) rf=0.2 7x4x0.9 | meter | 45 | 0% |  | 45 | 250 | 11250
6.09.14 | AJ-2Y‏OF(L)2Y‏DB‏‏‏‏2‏Y(H45) rf=0.2 10x4x0.9 | meter | 60 | 0% |  | 60 | 250 | 15000
6.09.15 | AJ-2Y‏OF(L)2Y‏DB‏‏‏‏2‏Y(H45) rf=0.2 10x4x1.4 | meter | 100 | 0% |  | 100 | 250 | 25000
6.09.16 | AJ-2YTF(L)HDBH-FR(H145) rf=0.2 10x1x1.4 | meter | 40 | 0% |  | 40 | 250 | 10000
6.09.17 | AJ-2YTF(L)HDBH-FR(H115) rf=0.2 40x1x0.9 | meter | 60 | 0% |  | 60 | 250 | 15000
6.09.18 | AJ-2YTF(L)HDBH-FR(H145) rf=0.2 40x1x1.4 | meter | 90 | 0% |  | 90 | 250 | 22500
6.09.19 | AJ-2YTF(L)HDBH-FR(H95) rf=0.2 40x1x1.8 | meter | 145 | 0% |  | 145 | 250 | 36250
6.09.20 | AJ-2Y‏‏(L)HDBH-FR(H45) rf=0.2 3x4x0.9 | meter | 40 | 0% |  | 40 | 250 | 10000
6.09.21 | AJ-2Y‏(L)HDBH-FR(H45) rf=0.2 5x4x0.9 | meter | 45 | 0% |  | 45 | 250 | 11250
6.09.22 | AJ-2Y‏‏(L)HDBH-FR(H45) rf=0.2 7x4x0.9 | meter | 50 | 0% |  | 50 | 250 | 12500
6.09.23 | AJ-2Y‏‏(L)HDBH-FR(H45) rf=0.2 10x4x0.9 | meter | 60 | 0% |  | 60 | 250 | 15000
6.09.24 | AJ-2Y‏‏(L)HDBH-FR(H45) rf=0.2 10x4x1.4 | meter | 100 | 0% |  | 100 | 250 | 25000
6.09.25 | 25*2*0.9-B-FS-AHDQH-D Rf=0.1 | meter | 125 | 0% |  | 125 | 250 | 31250
6.09.26 | AJ-2YTF(L)HDBH-FR(H115) rf=0.2 4x1x0.9 | meter | 20 | 0% |  | 20 | 250 | 5000
6.09.27 | AJ-2YTF(L)HDBH-FR(H145) rf=0.2 4x1x1.4 | meter | 30 | 0% |  | 30 | 250 | 7500
6.09.28 | A-2Y‏OF(L)2Y‏B‏‏‏‏2‏Y(H52) 1x4x0.9 | meter | 10 | 0% |  | 10 | 250 | 2500
6.09.29 | A-2Y‏OF(L)2YB‏‏‏‏2‏Y(H45) 3x4x0.9 | meter | 20 | 0% |  | 20 | 250 | 5000
6.09.30 | A-2Y‏OF(L)2YB2Y(H145) 4x1x1.4 | meter | 15 | 0% |  | 15 | 250 | 3750
6.09.31 | A-2Y‏OF(L)2YB2Y(H145) 10x1x1.4 | meter | 25 | 0% |  | 25 | 250 | 6250
6.09.32 | A-2Y‏OF(L)2YB2Y(H145) 16x1x1.4 | meter | 35 | 0% |  | 35 | 250 | 8750
6.09.33 | A-2Y‏OF(L)2YB2Y(H145) 27x1x1.4 | meter | 50 | 0% |  | 50 | 250 | 12500
6.09.34 | A-2Y‏OF(L)2YB2Y(H115) 40x1x0.9 | meter | 35 | 0% |  | 35 | 250 | 8750
6.09.35 | A-2Y‏OF(L)2YB2Y(H145) 40x1x1.4 | meter | 75 | 0% |  | 75 | 250 | 18750
6.09.36 | A-2Y-RM-St/Cu 70 | meter | 60 | 0% |  | 60 | 250 | 15000
6.09.37 | 1x25 60227 IEC 01 | meter | 15 | 0% |  | 15 | 250 | 3750
6.09.38 | AJ-02‏YS(St)YDBY rf=0.2 1x4x0.8 Indusi | meter | 25 | 0% |  | 25 | 250 | 6250
6.09.39 | 25*2*0.9-B-FS-APDQP-G rf=0.1 | meter | 65 | 0% |  | 65 | 250 | 16250
6.09.40 | 50*2*0.9-B-FS-APDQP-G rf=0.1 | meter | 120 | 0% |  | 120 | 250 | 30000
6.09.41 | 25*2*0.9-B-FS-APRP-G | meter | 45 | 0% |  | 45 | 250 | 11250
6.09.42 | DRC-9-06X08-D-ZPDP-DD | meter | 20 | 0% |  | 20 | 250 | 5000
6.09.43 | DRC-9-08X12-D-ZPDP-DD | meter | 25 | 0% |  | 25 | 250 | 6250
6.09.44 | DRE-9-08X24-D-ZPDP-DD | meter | 35 | 0% |  | 35 | 250 | 8750
6.09.45 | DRC-9-06X08-D-ZHDH-DD | meter | 25 | 0% |  | 25 | 250 | 6250
6.09.46 | DRC-9-08X12-D-ZHDH-DD | meter | 30 | 0% |  | 30 | 250 | 7500
6.09.47 | DRE-9-8X24-D-ZHDH-DD | meter | 40 | 0% |  | 40 | 250 | 10000
| Sub-Total SIGNAGE | [6 empty] | 679750
| Sub-Total OCS Small works | [6 empty] | 20308250
No. | Assignment / Task | comp | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
7 | OCS C-200 ISR Small Works – Small Works shall mean works of up to five (3) kilometers in length. Use of this Chapter shall be subject to prior approval by ISR. Prices shall include all activities and works required for completion and successful operation, including but not limited to all stages of design, preparation of sectioning diagrams, coordination, approvals, permitting, construction, interface and integration with other ISR systems (such as signaling, SCADA and traction substations), Testing and Commissioning, and submission of all required documentation for Final Acceptance.
7.01 | Poles |  |  | 0%
7.01.01 | Cantilever support for portal | comp | 3000 | 0% |  | 3000 | 56 | 168000
7.01.02 | BWA system for overlap - single tension | comp | 18000 | 0% |  | 18000 | 16 | 288000
7.01.03 | Tensorex system for overlap per single tension | comp | 30000 | 0% |  | 30000 | 8 | 240000
7.01.04 | Cantilever of any type inlcuding insulators, tubes, brackets, connectors, wind stay, arms, comp | comp | 2500 | 0% |  | 2500 | 160 | 400000
7.01.05 | Mid point | comp | 3000 | 0% |  | 3000 | 8 | 24000
7.01.06 | OCS fix Anchor | comp | 45000 | 0% |  | 45000 | 30 | 1350000
7.01.07 | Return Wires | km | 50000 | 0% |  | 50000 | 8 | 400000
7.01.08 | Messenger wire | km | 60000 | 0% |  | 60000 | 10 | 600000
7.01.09 | Contact wire | km | 100000 | 0% |  | 100000 | 10 | 1000000
7.01.10 | Support for 2x25 kV feeder wire | comp | 5000 | 0% |  | 5000 | 80 | 400000
7.01.11 | Insulator for 2x25 kV feeder wire | comp | 1500 | 0% |  | 1500 | 80 | 120000
7.01.12 | Jumper | comp | 1600 | 0% |  | 1600 | 40 | 64000
7.01.13 | Dropper | comp | 250 | 0% |  | 250 | 1500 | 375000
7.01.14 | Cantilevers support of any type | comp | 2500 | 0% |  | 2500 | 160 | 400000
7.01.15 | Off Load Disconnector 52 kV, 2500 Amp, arc horns, including additional supprot in pole, motor, arm, manual activatior, controller, full installation kit | comp | 25000 | 0% |  | 25000 | 5 | 125000
7.01.16 | On Load Disconnector 52 kV 2500 Amp,arc horns, including additional supprot in pole, motor, arm, manual activatior, controller, full installation kit | comp | 35000 | 0% |  | 35000 | 5 | 175000
7.01.17 | Motor control unit in OCS disconnector control panel | comp | 25000 | 0% |  | 25000 | 10 | 250000
7.01.18 | Section Insulator up to 160 km/hr | comp | 20000 | 0% |  | 20000 | 3 | 60000
7.01.19 | Section Insulator up to 250 km/hr | comp | 25000 | 0% |  | 25000 | 3 | 75000
7.01.20 | TRANSFER PLATE ‎PL-AN‎ | comp | 400 | 0% |  | 400 | 10 | 4000
7.01.21 | TRANSFER PLATE ‎PL-AN‎2 | comp | 500 | 0% |  | 500 | 10 | 5000
7.01.22 | MV corridor | meter | 10500 | 0% |  | 10500 | 75 | 787500
| Sub-Total Poles | [6 empty] | 7310500
7.02 | INSULATORS
7.02.01 | Cantilever tube insulator | comp | 1500 | 0% |  | 1500 | 100 | 150000
7.02.02 | Tie tube insulator | comp | 1200 | 0% |  | 1200 | 20 | 24000
7.02.03 | Buttonhole-buttonhole insulator | comp | 1000 | 0% |  | 1000 | 20 | 20000
7.02.04 | Top pole insulator | comp | 1750 | 0% |  | 1750 | 20 | 35000
7.02.05 | Gantry insulator | comp | 3000 | 0% |  | 3000 | 20 | 60000
| Sub-Total INSULATORS | [6 empty] | 289000
7.03 | JUMPERS, CONNECTIONS AND INSULATIONS
7.03.01 | Overlap jumper (≥4) | comp | 3000 | 0% |  | 3000 | 10 | 30000
7.03.02 | Equipotential jumper for insulated overlap (4) | comp | 2500 | 0% |  | 2500 | 10 | 25000
7.03.03 | Messenger/Contact wire jumper in crossing (≥2) | comp | 1500 | 0% |  | 1500 | 10 | 15000
7.03.04 | Feeding connection to MW/CW (≥2) | comp | 6000 | 0% |  | 6000 | 10 | 60000
7.03.05 | Bridge connection from load breaker to MW/CW (≥4) | comp | 8000 | 0% |  | 8000 | 10 | 80000
7.03.06 | Bridge connection from catenary to catenary (≥2) | comp | 2000 | 0% |  | 2000 | 10 | 20000
7.03.07 | Connection to surge arrester, ground and power | comp | 2250 | 0% |  | 2250 | 20 | 45000
7.03.08 | Connection to voltage detector, ground and power | comp | 2250 | 0% |  | 2250 | 20 | 45000
7.03.09 | Connection to voltage detector, low voltage | comp | 2250 | 0% |  | 2250 | 20 | 45000
7.03.10 | Connection to load breaker motor, low voltage and signal | comp | 2250 | 0% |  | 2250 | 20 | 45000
7.03.11 | Intermediate insulation for messenger wire | comp | 6000 | 0% |  | 6000 | 15 | 90000
7.03.12 | Intermediate insulation for contact wire | comp | 5500 | 0% |  | 5500 | 15 | 82500
7.03.13 | Intermediate insulation for steel wire (100mm2) | comp | 5000 | 0% |  | 5000 | 15 | 75000
| Sub-Total INSULATED COPPER AND COPPER ALLOY WIRES | [6 empty] | 657500
7.04 | CLAMPS AND SPLICES
7.04.01 | Steady arm contact wire clamp | comp | 40 | 0% |  | 40 | 200 | 8000
7.04.02 | Dropper contact wire clamp | comp | 100 | 0% |  | 100 | 200 | 20000
7.04.03 | Dropper messenger wire clamp | comp | 100 | 0% |  | 100 | 200 | 20000
7.04.04 | Stitch wire messenger wire clamp | comp | 100 | 0% |  | 100 | 200 | 20000
7.04.05 | Contact wire splice | comp | 150 | 0% |  | 150 | 150 | 22500
7.04.06 | Messenger wire splice | comp | 100 | 0% |  | 100 | 150 | 15000
7.04.07 | Return Wires splice | comp | 350 | 0% |  | 350 | 150 | 52500
7.04.08 | Feeder wire splice, naked | comp | 800 | 0% |  | 800 | 150 | 120000
7.04.09 | Feeder wire splice, insulate | comp | 900 | 0% |  | 900 | 150 | 135000
7.04.10 | Grounding wire Cu 50 mm2, 0,6/1kV splice | comp | 250 | 0% |  | 250 | 150 | 37500
7.04.11 | Low voltage cable low 5x16, 0,6/1kV splice | comp | 350 | 0% |  | 350 | 150 | 52500
7.04.12 | Low voltage cable 5x25, 0,6/1kV splice | comp | 400 | 0% |  | 400 | 150 | 60000
7.04.13 | Low voltage cable 4x70+35, 0,6/1kV splice | comp | 500 | 0% |  | 500 | 150 | 75000
7.04.14 | Signal cable, 0,6/1kV splice | comp | 2000 | 0% |  | 2000 | 20 | 40000
7.04.15 | Bi-metalic protection cover for feeding | comp | 120 | 0% |  | 120 | 20 | 2400
7.04.16 | Bi-metalic protection cover for messenger wire suspension | comp | 100 | 0% |  | 100 | 20 | 2000
| Sub-Total INSULATED COPPER AND COPPER ALLOY WIRES | [6 empty] | 682400
| Subtotal - OCS C200 ISR Small Works | [6 empty] | 8939400
No. | Assignment / Task | comp | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
8 | SCADA Materials and Installation
NOTE | The unit rates included in this Chapter shall constitute the full, final and complete consideration for the execution of the Works and shall include, without limitation, all costs associated with procurement, supply, manufacturing (where applicable), transportation, delivery to site, unloading, storage, handling, excavation and/or rock breaking, installation, testing, commissioning, design (where required), coordination, supervision, provision of all labor, materials, equipment, tools, consumables, and any and all other activities, whether expressly stated or implied, required for the proper and complete execution of the Works. No additional payment shall be made in respect of any of the foregoing.
8.01.01 | SCADA Cable (Power and Hybrid) | meter | 150 | 0% |  | 150 | 750 | 112500
8.01.02 | Cable armoured duct protection | comp | 1500 | 0% |  | 1500 | 500 | 750000
8.01.03 | Motor Box for disconnector including MOTOR CONTROL UNIT | comp | 25000 | 0% |  | 25000 | 5 | 125000
8.01.04 | Remote Terminal Unit | comp | 120000 | 0% |  | 120000 | 1 | 120000
8.01.05 | Connection Box | comp | 1000 | 0% |  | 1000 | 10 | 10000
8.01.06 | SCADA plastic tray | meter | 200 | 0% |  | 200 | 1000 | 200000
8.01.07 | Manhole 80 cm | comp | 6000 | 0% |  | 6000 | 20 | 120000
8.01.08 | Manhole 100 cm | comp | 7500 | 0% |  | 7500 | 20 | 150000
8.01.09 | Metal cable tray 40 cm width with cover | meter | 300 | 0% |  | 300 | 20 | 6000
8.01.10 | Installation of SCADA cables on Return Wires (supply by others) | meter | 75 | 0% |  | 75 | 100 | 7500
8.01.11 | SCADA cable aerial crossing | comp | 4500 | 0% |  | 4500 | 5 | 22500
8.01.12 | Installation only of Motor Box with MOTOR CONTROL UNIT (including the brackets and connection to the disconnector's rod) (supply by others) | comp | 1000 | 0% |  | 1000 | 10 | 10000
8.01.13 | Connection of all cables to the MOTOR CONTROL UNIT (disconnector motor control unit) | comp | 6500 | 0% |  | 6500 | 5 | 32500
8.01.14 | Electrical and Functioning Test of SCADA cable | comp | 3000 | 0% |  | 3000 | 5 | 15000
8.01.15 | ADSS cable | meter | 20 | 0% |  | 20 | 1000 | 20000
8.01.16 | Armored Fiber Optics cable | meter | 25 | 0% |  | 25 | 100 | 2500
8.01.17 | Patch panel 144 connections | comp | 8750 | 0% |  | 8750 | 100 | 875000
8.01.18 | Installation of ADSS cable (supply by others) | meter | 30 | 0% |  | 30 | 100 | 3000
8.01.19 | Installation of Fiber Optic cable (supply by others) | meter | 20 | 0% |  | 20 | 100 | 2000
8.01.20 | ADSS fusion (include materials ) | comp | 12500 | 0% |  | 12500 | 100 | 1250000
8.01.21 | Testing of ADSS cable according to ISR procedures | comp | 5750 | 0% |  | 5750 | 5 | 28750
| Sub-Total SCADA Materials and Installation | [6 empty] | 3862250
Category C - dismantling
No. | Assignment / Task | comp | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
9 | Dismantling works - OCS Dismantling works- The dismantling works shall include dismantling, removal, loading, transportation, unloading and handling of all dismantled components, including wooden drums and storage boxes, to any location within the State of Israel as instructed by ISR. Where required, the works shall also include removal and lawful disposal at an authorized site, all in accordance with the Agreement requirements.
9.01 | Dismantling of a of line
9.01.01 | Dismantle of whole OCS for Straight track with two Return Wiress including all elements (not limited to wires, Cantilevers, insulators, sectioning insulators, disconnectors, poles, portals, cutting the foundation rods, earthing wires, etc) | km | 400000 | 0% |  | 400000 | 8 | 3200000
9.01.02 | Dismantle of whole OCS for Curve track with two Return Wiress including all elements (radius less than 700 meters) (not limited to wires, Cantilevers, insulators, sectioning insulators, disconnectors, poles, portals, cutting the foundation rods, earthing wires, etc) | km | 450000 | 0% |  | 450000 | 2 | 900000
9.01.03 | Dismantle of whole OCS inside tunnel with two Return Wiress including all elements (not limited to wires, Cantilevers, insulators, earthing wires, disconnectors, Sectioning insulators, etc) | km | 300000 | 0% |  | 300000 | 2 | 600000
| Sub-Total Dismantling of piece of line | [6 empty] | 4700000
9.02 | Small dismantling works
9.02.01 | Dismantling OCS system - Contact wire, Messenger and Dropper | meter | 200 | 0% |  | 200 | 3000 | 600000
9.02.02 | Dismantling of BWA | comp | 1000 | 0% |  | 1000 | 10 | 10000
9.02.03 | Dismantling of Tensorex | comp | 1000 | 0% |  | 1000 | 10 | 10000
9.02.04 | Dismantling Return Wires cable | meter | 10 | 0% |  | 10 | 1000 | 10000
9.02.05 | Dismantling Feeder wire cable | meter | 10 | 0% |  | 10 | 1000 | 10000
9.02.06 | Dismantling pole up to 8.5 meters height | comp | 1500 | 0% |  | 1500 | 20 | 30000
9.02.07 | Dismantling pole up to 10.5 meters height | comp | 1500 | 0% |  | 1500 | 5 | 7500
9.02.08 | Dismantling pole up to 14 meters height | comp | 1500 | 0% |  | 1500 | 5 | 7500
9.02.09 | Dismantling portal beam up to 20 meters length | comp | 15000 | 0% |  | 15000 | 3 | 45000
9.02.10 | Dismantling portal beam up to 25 meters length | comp | 15000 | 0% |  | 15000 | 2 | 30000
9.02.11 | Dismantling portal beam up to 30 meters length | comp | 20000 | 0% |  | 20000 | 1 | 20000
9.02.12 | Dismantling ADSS cable | meter | 10 | 0% |  | 10 | 1000 | 10000
9.02.13 | Dismantling cantilever from existing pole | comp | 500 | 0% |  | 500 | 30 | 15000
9.02.14 | Dismantling hybrid SCADA cable | meter | 10 | 0% |  | 10 | 1000 | 10000
9.02.15 | Dismantling SCADA conduit including cover and restoring superstructure to its original condition | meter | 30 | 0% |  | 30 | 500 | 15000
9.02.16 | Dismantle of Fiber Optic cable in duct | meter | 20 | 0% |  | 20 | 1000 | 20000
9.02.17 | Disconnection of all cables to the MOTOR CONTROL UNIT (disconnector motor control unit) | comp | 1500 | 0% |  | 1500 | 5 | 7500
9.02.18 | Dismantle of SCADA/Hybrid/Power cable | meter | 20 | 0% |  | 20 | 500 | 10000
9.02.19 | Dismantle of Motor box | comp | 1000 | 0% |  | 1000 | 5 | 5000
| Sub-Total Small Dismantling Works | [6 empty] | 872500
| Sub-Total Dismantling works - OCS | [6 empty] | 5572500
Category D - Resources
No. | Assignment / Task | comp | Basic Unit Price (NIS) | Discount (negative) / Addition (positive) in percentage (%) | Compliance with Discount or Addition limitation - PASS/FAIL | Adjusted Unit Price (NIS) | Quantity for Price Proposal | Price for Price Proposal (NIS)
10 | Resources
The unit rates shall include the provision and utilization of all required resources on a shift basis, including labor, equipment, supervision and any associated activities, as necessary for the proper execution of the Works. No additional payment shall be made for work performed in shifts, including night work, weekends or multiple shifts, unless expressly stated otherwise in the Contract.
10.01.01 | Shipment to/from the site of equipment by 20 ton track with crane | shift | 6000 |  |  | 6000 | 2 | 12000
10.01.02 | Track vehicle (dresine for OCS works) + team (4+1 driver) | shift | 20000 |  |  | 20000 | 5 | 100000
10.01.03 | Crane 50ton with basket | shift | 6000 |  |  | 6000 | 1 | 6000
10.01.04 | Crane 100ton with basket | shift | 7500 |  |  | 7500 | 1 | 7500
10.01.05 | Redeployment of the track vehicle from/to site | shift | 6000 |  |  | 6000 | 1 | 6000
10.01.06 | Dual vehicle (including platform and crane) + team (4+1 driver) | shift | 15000 |  |  | 15000 | 5 | 75000
10.01.07 | OCS construction team (4 skilled workers) | shift | 10000 |  |  | 10000 | 5 | 50000
10.01.08 | Certified electrical inspector (Engineer level 3) | Report | 2500 |  |  | 2500 | 1 | 2500
10.01.09 | Testing of the foundation grounding system and lightning protection as follows: The tests will be performed by a Type 3 electrical inspector who will submit a detailed inspection report according to the requirements of the Electricity Law and its regulations, and will include: (a) Resistance tests of the external outlets from the bonding ring toward the general mass of the earth | Report | 2500 |  |  | 2500 | 1 | 2500
10.01.10 | Testing of touch and step voltage in accordance with IEEE 80 standard requirements at a railway station platform with a length of 400 meters and width of 12 meters. | Report | 2500 |  |  | 2500 | 1 | 2500
10.01.11 | Insulation testing of the OCS system for a section up to 20 km in length of double track at overvoltage up to 50kV | Report | 4000 |  |  | 4000 | 1 | 4000
10.01.12 | Testing the integrity of the grounding system in the OCS system for up to 20 km of double track, including testing of grounding bonds between the rails, grounding bonds of the poles to the rail, grounding bonds to bridges over the track. | Report | 4000 |  |  | 4000 | 1 | 4000
10.01.13 | Testing of Continuity of OCS system, including opening/closing of disconnetors up to 20 km double track | Report | 4000 |  |  | 4000 | 1 | 4000
| Sub-Total Resources | [6 empty] | 276000
Bidder Check | TRUE
Summery BOQ Price Proposal
Category A - Design & Construction of sections
Bidder's Price Proposal (NIS)
Chapter Number
1 | 1x25 system - Green Field | [6 empty] | 0
2 | 1x25 system - Gray Field | [6 empty] | 0
3 | 2x25 system - Green Field | [6 empty] | 0
4 | 2x25 system - Gray Field | [6 empty] | 0
5 | SCADA | [6 empty] | 0
Category B - Design & Construction small works
Bidder's Price Proposal (NIS)
Chapter Number
6 | OCS Small works | [6 empty] | 20308250
7 | OCS C200 ISR Small Works | [6 empty] | 8939400
8 | SCADA Materials and Installations | [6 empty] | 3862250
Category C - dismantling
Bidder's Price Proposal (NIS)
Chapter Number
9 | Dismantling works | [6 empty] | 5572500
Category D - Resources
Bidder's Price Proposal (NIS)
Chapter Number
10 | Resources | [6 empty] | 276000
Summery of BOQ Price Proposal (Before Indexation)
Bidder's Price Proposal (NIS)
BOQ Price Proposal | [7 empty] | 38958400